### Report form for analyzed gases sample preparation complex

- Gas temperature at the point of sampling, (С………………………..________

- Gas pressure at the point of sampling, Pa……………………………________

- Gas flow rate via analyser, l/h……………………………………________

- Distance from the point of gas sampling to analyser, m…………________

- Environmental condition (temperature) at right-of-way between selecting device and analyser, (С…………………………………………………..________

- Presence of sample throughput rate booster, gas sample throughput rate meter and sample throughput rate and pressure stabilizer among device components:

_________________________________________________________________

__________________________________________________________________________________________________________________________________

- Physicochemical parameters of processed atmosphere at the point of sampling:

- contamination presence (concentration 1/cm3 , size)……………_________

- chemical composition ______________________________________________

________________________________________________________________

- Requirerment to the gas sample поступающего на вход в analyser:

- gas temperature…………………………………………………………….________

- pressure………………………………………………………………………________

- rate of throughput …………………………………………………………….________

- top-of-the-range pollution density (content) damp, contamination, corrosive atmospheres etc.___________________________________________________

- Explosion protection requirements ……………………………………..________

- Possible connection of sampling complex to compressed-air line with pressure not lower than 3,5 –6,0 kg(f)/cm2 , with pollution density not worse than class 7 according to GOST 17433-80:______________________________________

- Availability of power line usage (220 V, 50 Hz………._________